## Slide 1
Client Quality Requirements
Protein Stability Assay — Excelra Partnership Agreement
Ref: CLT-QR-2026-003 | Effective: 01-Feb-2026

## Slide 2
Mandatory Release Specifications
Parameter | Client Minimum | Client Maximum | Units
Temperature | 36.0 | 37.8 | °C
pH | 7.0 | 7.5 | —
Purity | 96.0 (minimum) | — | %
Yield | 135.0 (minimum) | — | mg
Endotoxin | — | 0.10 (maximum) | EU/mL
Important: Client purity minimum (96.0%) is STRICTER than the internal SOP minimum (95.0%). The client threshold takes precedence for all batches intended for client delivery.

## Slide 3
Pilot Run Acceptance Rules
Pilot Run batches (B-200 series) are subject to relaxed specifications as agreed in the partnership addendum dated 15-Jan-2026:
Parameter | Pilot Minimum | Standard Minimum
Purity | 90.0% | 96.0%
Yield | 120.0 mg | 135.0 mg
Endotoxin | ≤ 0.20 EU/mL | ≤ 0.10 EU/mL
Temperature | 36.5–37.5°C | 36.0–37.8°C
Note: pH and Temperature must still meet standard SOP criteria for Pilot Runs.

## Slide 4
Analyst Qualification Policy
Trainee Analysts: Results from trainee analysts require an additional 0.2% purity buffer above the minimum threshold. This means:
For standard batches: Purity must be ≥ 96.2% (not 96.0%) when run by a trainee
For pilot runs: Purity must be ≥ 90.2% (not 90.0%) when run by a trainee
A Senior Analyst co-signature is required on the batch record in all cases
Analyst_B is confirmed as a Trainee Analyst as of Q1 2026 review.